LED FLOODLIGHTING

- AVAILABLE IN BLACK OR WHITE

- DURABLE POLYCARB MOUNTING BASE

- OPAL POLYCARB DIFFUSER

- 15WATT

- TRI COLOUR 3000K, 4000K, 5700K

- LUMENS 1200lm, 1300lm, 1250lm

- BEAM DISTRIBUTION 100deg

- HIGH EFFICIENCY LED CHIPS

- INTEGRAL NON DIMMABLE LED DRIVER

SENSOR MODELS:

- INTEGRAL PIR MOTION SENSOR

- DETECTION DISTANCE 12m AT 2.5mh

- DETECTION ANGLE 180deg

- MANUAL OVER-RIDE FUNCTION

- TIME AND LIGHT LEVEL ADJUSTMENTS

*SINGLE FLOODLIGHT PART NUMBER SE7080/1TC-BK

*SINGLE FLOODLIGHT WITH SENSOR PART NUMBER SES7080/1TC-BK

*TWIN FLOODLIGHT PART NUMBER SE7080/2TC-BK

*TWIN FLOODLIGHT WITH SENSOR PART NUMBER SES7080/2TC-BK